## Slide 1: A three-phase inverter connected to a grid fed by PV operating at MPP

## Slide 3
From KVL equation
From KVL equation
From KCL equation

## Slide 4
abc Matrix

## Slide 5
abc to αβ transformation

## Slide 6
αβ to dq transformation

## Slide 7
equation 3
equation 2
equation 1
equation 4

## Slide 8
from equation 1 and 2
d axis transfer function
q axis transfer function

## Slide 9
LC Filter design
Capacitance Calculation (from reactive power)
reactive power = 5% of rated power(from observation)
Inductance Calculation
calculating from transfer function (Ig/Vinv) at s = jWsw (fsw = 10khz)
where
where
S = Total power of the system
Vg = Grid voltage
Ig = Grid current
F = frequency of ac

## Slide 10
DQ - Current controller design
((calculated by using pole zero cancellation method))
We have -
((calculated by using pole zero cancellation method))
Calculating OLTF AND CLTF FROM G and H transfer function
where fc is the cutoff frequency which is 1/10 times of Switching frequency

## Slide 11
Considering grid inductance in the calculation

## Slide 12
Bode plot of OLTF

## Slide 13
Bode plot of CLTF

## Slide 14
Designing PLL controller
((calculated by using pole Placing method))
Calculating OLTF AND CLTF FROM G and H transfer function
where

## Slide 15
MPPT Tracking
VMPP Tracking graph

## Slide 16
Graph of current feeding into grid

## Slide 17
Comparing Power generated by panels vs Power that are fed into the Grid
Panel power = 513 W
Power transferred to the grid is = 500 W

## Slide 18
THD calculation
THD calculation in Dynamic state